## Documentation
Usage of the Excel-LPS-Connection
Important:
do not rename the existing worksheets
do not insert or delete cells in worksheet 'Main Page' in the range from A1:N8
in Excel-Kompatibility-Mode are only 255 columns avaliable for record data
If the software gets out of sync with the LPS, close (all instances of) Excel, cycle sensorpower and restart Excelfile.
let the Excel-Live-LPS.xls be the only running excel task (because speed of data capture)
Starting Sensor-Connection
Enter LPS IP-Adress (default: 192.168.60.3).
Enter LPS-Port (default: 9008).
Enter PC-Port (default: 5634).
Power On LPS.
(wait for ethernet recognition)
Click 'Connect Sensor'. You are now in 'MeasureMode'.
Measure data
Click then button 'Measure Mode'
The Sensor needs a Triggersource if the Display shows '!Trig'. By default the Sensor is in the Mode 'Free Run' and sends datas.
The datatransmission is signaled by blinking of the sensors leds.
To read one set of datas into Excel click the button 'Get Data'. The Scannumber of the measurement resides in Cell 'A2'
The diagramm shows the profile of the datas.
A live-mode visualization can be activated with the button 'Start'. You should get 2-3 frames per second.
notice the channging 'scan-numbers' in 'A2'
Stop the live visualzation by clicking 'Stop' before any other action
Recording data for LPS-Devices
The Sensor-Data can be recorded to worksheet 'Measure Page'
The number of samples to be recorded is derived from cell 'N2'.
If this value is 0, no datas are recorded.
To use this function, enter a value to the Samplecounter in cell 'N2'.
The record data are manually read by clicking the button 'Get Data' or automatically by clicking 'Start'
Record parameters for LPS-Devices
The datas could be recorded X and Z data horizontally arranged or vertical in one column.
Click button 'Dataformat' to toggle.
The starting cell for the recorded data is derived from the Cells 'L1:L2'.
This enables dataprocessing on the 'Measure Page'
The 'Clr Vals.' buttons deletes the record datas beginning from position specified by Cells 'L1:L2'.
After changing the starting Cells 'L1:L2', click 'Clr Vals' to accept the new settings.
Command Mode
No measure datas are aquired. The available funtions have activated buttons.
The Display of the Sensor should show 'Command Mode'
The Laser can be swichched on or off.
The Inspection-Task can be set. Write the desired tasknumber in Cell 'I4'. Range 0…15.
The 'Get Insp. Task'-Button reads the actual Inspectiontasknumber and writes it into Cell 'I4'.

## Main Page
ScanNr: | Encoder: |  | Connection |  | State | Measure-Page-Config. |  |  | Samples
13830 | 0 | LPS-IP: | 192.168.60.3 | Status: | Disconnected |  | vertical | record data | 10
X | Z | LPS-Port: | 9008 | Mode: | Measure | Start Column | C
0 | 0 | PC-Port: | 5634 | Insp. Task: | 0 | Start Row | 5
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
-1736 | 4750
-1719 | 4739
-1708 | 4732
-1694 | 4723
-1680 | 4713
-1669 | 4716
-1659 | 4712
-1648 | 4716
-1634 | 4708
-1624 | 4707
-1616 | 4713
-1605 | 4712
-1592 | 4705
-1578 | 4695
-1567 | 4690
-1553 | 4689
-1543 | 4684
-1532 | 4681
-1519 | 4679
-1511 | 4683
-1501 | 4685
-1490 | 4682
-1479 | 4683
-1469 | 4688
-1455 | 4678
-1448 | 4684
-1434 | 4679
-1427 | 4689
-1416 | 4687
-1405 | 4681
-1398 | 4695
-1384 | 4687
-1376 | 4698
-1366 | 4694
-1353 | 4685
-1344 | 4691
-1334 | 4691
-1321 | 4687
-1313 | 4692
-1300 | 4688
-1290 | 4688
-1277 | 4678
-1269 | 4683
-1260 | 4683
-1249 | 4685
-1239 | 4681
-1229 | 4685
-1219 | 4684
-1209 | 4681
-1196 | 4677
-1191 | 4694
-1178 | 4689
-1168 | 4686
-1158 | 4687
-1148 | 4682
-1140 | 4691
-1129 | 4690
-1117 | 4685
-1107 | 4686
-1095 | 4677
-1087 | 4683
-1076 | 4684
-1066 | 4685
-1056 | 4685
-1046 | 4680
-1036 | 4685
-1026 | 4683
-1015 | 4682
-1005 | 4681
-996 | 4685
-985 | 4684
-975 | 4684
-964 | 4679
-955 | 4682
-944 | 4677
-934 | 4675
-924 | 4678
-916 | 4682
-906 | 4686
-894 | 4678
-884 | 4678
-875 | 4675
-866 | 4681
-857 | 4683
-846 | 4680
-835 | 4678
-825 | 4679
-816 | 4677
-807 | 4681
-797 | 4681
-787 | 4685
-777 | 4680
-768 | 4685
-756 | 4679
-748 | 4685
-736 | 4677
-727 | 4678
-716 | 4673
-708 | 4681
-697 | 4678
-686 | 4675
-677 | 4674
-668 | 4683
-657 | 4677
-648 | 4675
-639 | 4683
-628 | 4676
-619 | 4679
-609 | 4677
-600 | 4681
-590 | 4679
-580 | 4678
-570 | 4672
-561 | 4674
-551 | 4678
-541 | 4674
-532 | 4678
-522 | 4679
-513 | 4676
-454 | 4175
-444 | 4168
-436 | 4169
-428 | 4173
-419 | 4170
-410 | 4171
-401 | 4169
-393 | 4174
-384 | 4169
-376 | 4171
-367 | 4172
-358 | 4170
-349 | 4163
-341 | 4167
-332 | 4166
-324 | 4172
-315 | 4175
-306 | 4172
-298 | 4171
-289 | 4178
-281 | 4172
-272 | 4172
-263 | 4173
-255 | 4171
-246 | 4173
-237 | 4169
-229 | 4170
-220 | 4171
-211 | 4168
-203 | 4171
-194 | 4167
-186 | 4171
-177 | 4171
-168 | 4166
-159 | 4167
-151 | 4171
-142 | 4167
-134 | 4169
-125 | 4172
-117 | 4171
-108 | 4170
-100 | 4173
-90 | 4167
-82 | 4167
-74 | 4173
-65 | 4173
-56 | 4168
-47 | 4166
-39 | 4165
-30 | 4170
-22 | 4166
-13 | 4174
-4 | 4167
2 | 4162
11 | 4167
19 | 4170
28 | 4169
37 | 4166
45 | 4168
53 | 4163
62 | 4169
70 | 4166
79 | 4168
88 | 4167
96 | 4167
105 | 4167
113 | 4168
122 | 4167
130 | 4163
138 | 4168
148 | 4169
156 | 4167
164 | 4166
173 | 4160
181 | 4165
190 | 4168
198 | 4161
207 | 4167
216 | 4162
224 | 4163
233 | 4163
241 | 4168
249 | 4167
258 | 4164
267 | 4166
275 | 4165
284 | 4169
292 | 4169
301 | 4160
310 | 4162
318 | 4166
327 | 4167
336 | 4162
344 | 4164
353 | 4164
362 | 4166
370 | 4163
379 | 4165
387 | 4166
396 | 4164
405 | 4161
413 | 4165
422 | 4163
431 | 4163
439 | 4163
449 | 4161
457 | 4163
465 | 4165
475 | 4163
483 | 4163
490 | 4157
499 | 4155
508 | 4159
518 | 4162
527 | 4161
534 | 4159
609 | 4662
618 | 4664
628 | 4666
638 | 4663
647 | 4663
655 | 4659
667 | 4662
676 | 4665
687 | 4665
696 | 4665
706 | 4667
716 | 4664
726 | 4665
735 | 4663
746 | 4662
755 | 4662
765 | 4666
775 | 4663
785 | 4666
794 | 4665
805 | 4662
812 | 4657
824 | 4660
832 | 4657
844 | 4661
852 | 4659
862 | 4658
871 | 4653
883 | 4661
891 | 4655
900 | 4657
910 | 4659
920 | 4659
930 | 4658
939 | 4658
950 | 4655
959 | 4657
969 | 4658
977 | 4649
989 | 4652
999 | 4658
1009 | 4658
1019 | 4654
1030 | 4655
1040 | 4655
1050 | 4656
1058 | 4649
1071 | 4653
1080 | 4658
1090 | 4659
1101 | 4653
1111 | 4653
1121 | 4656
1131 | 4657
1144 | 4660
1154 | 4660
1165 | 4661
1175 | 4664
1183 | 4658
1192 | 4657
1203 | 4657
1215 | 4660
1223 | 4655
1236 | 4660
1246 | 4667
1257 | 4665
1267 | 4662
1274 | 4658
1285 | 4656
1295 | 4652
1303 | 4646
1316 | 4653
1326 | 4650
1331 | 4639
1344 | 4643
1355 | 4643
1365 | 4641
1375 | 4640
1386 | 4644
1394 | 4638
1404 | 4638
1418 | 4645
1428 | 4641
1438 | 4643
1449 | 4642
1460 | 4641
1467 | 4637
1480 | 4647
1491 | 4646
1502 | 4647
1512 | 4649
1522 | 4647
1533 | 4643
1543 | 4648
1554 | 4643
1564 | 4643
1575 | 4648
1585 | 4645
1599 | 4650
1609 | 4650
1617 | 4649
1627 | 4647
1637 | 4649
1649 | 4645
1662 | 4650
1672 | 4654
1679 | 4649
1690 | 4644
1704 | 4653
1711 | 4641
1722 | 4647
1732 | 4646
1746 | 4653
1753 | 4648
1764 | 4649
1774 | 4645
1784 | 4649
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
Note on G2: default: 192.168.60.3
Note on G3: default: 9008
Note on G4: default: 5634
Note on L3: start writing record data at this column on 'Measure Page'.
Note on L4: start writing record data at this row on 'Measure Page'.
Note on N2: copies the number of measurements to 'Measure Page'

## Measure Page
ScanNr: | ScanNr: | ScanNr: | ScanNr: | ScanNr:
13554 | 13601 | 13645 | 13678 | 13721
Encoder: | Encoder: | Encoder: | Encoder: | Encoder:
0 | 0 | 0 | 0 | 0
Z | Z | Z | Z | Z
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
4748 | 4749 | 4748 | 4749 | 4751
4739 | 4738 | 4738 | 4738 | 4739
4732 | 4732 | 4732 | 4732 | 4731
4723 | 4722 | 4722 | 4723 | 4723
4713 | 4713 | 4713 | 4713 | 4713
4716 | 4716 | 4715 | 4716 | 4715
4712 | 4712 | 4711 | 4712 | 4711
4716 | 4715 | 4715 | 4715 | 4715
4708 | 4708 | 4707 | 4708 | 4708
4707 | 4707 | 4707 | 4707 | 4706
4712 | 4713 | 4712 | 4713 | 4712
4713 | 4713 | 4714 | 4713 | 4713
4704 | 4705 | 4705 | 4705 | 4704
4695 | 4694 | 4695 | 4696 | 4694
4691 | 4690 | 4690 | 4690 | 4689
4690 | 4689 | 4689 | 4691 | 4689
4684 | 4685 | 4684 | 4684 | 4685
4681 | 4681 | 4681 | 4681 | 4681
4680 | 4679 | 4679 | 4680 | 4681
4684 | 4683 | 4684 | 4685 | 4684
4684 | 4682 | 4683 | 4684 | 4683
4682 | 4682 | 4680 | 4681 | 4681
4683 | 4683 | 4682 | 4682 | 4682
4688 | 4686 | 4687 | 4688 | 4688
4679 | 4679 | 4678 | 4679 | 4678
4684 | 4685 | 4683 | 4685 | 4683
4680 | 4678 | 4678 | 4679 | 4679
4688 | 4688 | 4688 | 4687 | 4688
4686 | 4687 | 4686 | 4687 | 4686
4681 | 4681 | 4680 | 4681 | 4681
4694 | 4695 | 4694 | 4695 | 4694
4687 | 4687 | 4686 | 4687 | 4686
4698 | 4696 | 4697 | 4696 | 4698
4692 | 4694 | 4691 | 4694 | 4693
4686 | 4687 | 4685 | 4685 | 4685
4690 | 4692 | 4691 | 4690 | 4692
4689 | 4691 | 4688 | 4690 | 4690
4686 | 4686 | 4686 | 4686 | 4685
4692 | 4692 | 4692 | 4692 | 4692
4688 | 4688 | 4687 | 4687 | 4689
4689 | 4688 | 4687 | 4688 | 4687
4678 | 4680 | 4679 | 4679 | 4679
4683 | 4682 | 4682 | 4685 | 4683
4684 | 4682 | 4683 | 4683 | 4684
4685 | 4685 | 4685 | 4685 | 4686
4681 | 4681 | 4681 | 4681 | 4681
4685 | 4685 | 4684 | 4685 | 4685
4685 | 4684 | 4683 | 4684 | 4683
4680 | 4680 | 4680 | 4681 | 4681
4677 | 4677 | 4677 | 4678 | 4678
4694 | 4695 | 4694 | 4694 | 4693
4688 | 4689 | 4689 | 4688 | 4688
4685 | 4685 | 4684 | 4685 | 4685
4687 | 4686 | 4687 | 4688 | 4687
4682 | 4682 | 4682 | 4683 | 4683
4690 | 4689 | 4689 | 4690 | 4689
4691 | 4690 | 4690 | 4690 | 4690
4684 | 4684 | 4685 | 4685 | 4685
4685 | 4685 | 4685 | 4686 | 4686
4679 | 4678 | 4679 | 4678 | 4679
4683 | 4684 | 4682 | 4683 | 4682
4683 | 4684 | 4684 | 4684 | 4684
4686 | 4686 | 4686 | 4685 | 4685
4686 | 4685 | 4686 | 4685 | 4685
4681 | 4681 | 4679 | 4680 | 4681
4685 | 4684 | 4684 | 4684 | 4685
4683 | 4684 | 4684 | 4684 | 4684
4683 | 4682 | 4681 | 4683 | 4683
4681 | 4681 | 4681 | 4682 | 4681
4685 | 4684 | 4685 | 4685 | 4684
4684 | 4683 | 4684 | 4684 | 4683
4684 | 4683 | 4683 | 4685 | 4683
4680 | 4680 | 4679 | 4679 | 4680
4681 | 4682 | 4681 | 4681 | 4682
4677 | 4677 | 4677 | 4677 | 4677
4677 | 4677 | 4676 | 4677 | 4676
4678 | 4678 | 4678 | 4678 | 4678
4682 | 4681 | 4681 | 4681 | 4681
4688 | 4686 | 4686 | 4688 | 4687
4679 | 4678 | 4679 | 4679 | 4679
4679 | 4676 | 4676 | 4677 | 4678
4675 | 4675 | 4676 | 4675 | 4675
4681 | 4680 | 4680 | 4681 | 4680
4683 | 4682 | 4682 | 4683 | 4683
4681 | 4680 | 4679 | 4680 | 4681
4678 | 4676 | 4677 | 4677 | 4677
4679 | 4679 | 4678 | 4679 | 4680
4678 | 4679 | 4678 | 4678 | 4678
4682 | 4681 | 4681 | 4682 | 4682
4682 | 4682 | 4680 | 4682 | 4682
4684 | 4683 | 4683 | 4684 | 4683
4680 | 4681 | 4680 | 4681 | 4680
4685 | 4684 | 4684 | 4686 | 4686
4679 | 4679 | 4679 | 4679 | 4679
4684 | 4683 | 4682 | 4685 | 4684
4676 | 4677 | 4676 | 4679 | 4678
4678 | 4678 | 4678 | 4679 | 4678
4672 | 4673 | 4673 | 4675 | 4674
4680 | 4680 | 4680 | 4682 | 4681
4677 | 4677 | 4677 | 4678 | 4678
4675 | 4674 | 4674 | 4675 | 4675
4674 | 4675 | 4673 | 4674 | 4675
4683 | 4682 | 4682 | 4683 | 4682
4676 | 4678 | 4675 | 4677 | 4676
4675 | 4674 | 4673 | 4675 | 4675
4681 | 4680 | 4681 | 4683 | 4682
4676 | 4676 | 4674 | 4677 | 4676
4678 | 4679 | 4678 | 4679 | 4679
4677 | 4677 | 4676 | 4677 | 4677
4682 | 4680 | 4681 | 4682 | 4682
4678 | 4678 | 4677 | 4679 | 4678
4678 | 4677 | 4677 | 4678 | 4678
4672 | 4672 | 4671 | 4673 | 4673
4674 | 4674 | 4674 | 4675 | 4675
4678 | 4677 | 4677 | 4678 | 4678
4674 | 4674 | 4673 | 4674 | 4673
4678 | 4679 | 4678 | 4679 | 4678
4677 | 4678 | 4678 | 4679 | 4678
4675 | 4675 | 4674 | 4677 | 4676
4174 | 4176 | 4175 | 4175 | 4175
4168 | 4168 | 4168 | 4168 | 4168
4169 | 4169 | 4169 | 4169 | 4169
4173 | 4173 | 4173 | 4173 | 4174
4170 | 4170 | 4170 | 4171 | 4171
4172 | 4172 | 4171 | 4171 | 4172
4169 | 4169 | 4169 | 4169 | 4169
4175 | 4175 | 4175 | 4175 | 4174
4169 | 4169 | 4169 | 4169 | 4169
4171 | 4171 | 4171 | 4171 | 4171
4172 | 4173 | 4172 | 4172 | 4172
4170 | 4171 | 4169 | 4171 | 4170
4163 | 4163 | 4163 | 4163 | 4163
4168 | 4167 | 4167 | 4167 | 4167
4167 | 4166 | 4166 | 4167 | 4167
4172 | 4172 | 4172 | 4172 | 4173
4175 | 4175 | 4175 | 4175 | 4175
4172 | 4173 | 4173 | 4172 | 4172
4170 | 4171 | 4170 | 4170 | 4171
4178 | 4178 | 4177 | 4178 | 4178
4173 | 4172 | 4172 | 4173 | 4173
4172 | 4172 | 4172 | 4172 | 4172
4174 | 4174 | 4173 | 4174 | 4174
4171 | 4171 | 4171 | 4171 | 4171
4173 | 4173 | 4172 | 4173 | 4174
4169 | 4169 | 4169 | 4169 | 4169
4170 | 4170 | 4170 | 4170 | 4170
4171 | 4171 | 4171 | 4171 | 4171
4168 | 4169 | 4168 | 4168 | 4169
4172 | 4171 | 4171 | 4171 | 4172
4168 | 4167 | 4167 | 4168 | 4167
4171 | 4171 | 4170 | 4171 | 4171
4171 | 4172 | 4171 | 4171 | 4171
4167 | 4166 | 4166 | 4166 | 4166
4168 | 4167 | 4167 | 4167 | 4168
4172 | 4172 | 4171 | 4171 | 4172
4168 | 4167 | 4167 | 4167 | 4167
4170 | 4170 | 4169 | 4170 | 4170
4172 | 4172 | 4171 | 4173 | 4172
4171 | 4171 | 4171 | 4171 | 4171
4170 | 4170 | 4170 | 4170 | 4170
4173 | 4173 | 4173 | 4173 | 4173
4168 | 4167 | 4167 | 4167 | 4167
4166 | 4166 | 4166 | 4166 | 4166
4173 | 4173 | 4173 | 4173 | 4173
4173 | 4173 | 4173 | 4173 | 4173
4168 | 4168 | 4168 | 4168 | 4168
4166 | 4166 | 4166 | 4166 | 4166
4165 | 4164 | 4164 | 4164 | 4165
4169 | 4169 | 4169 | 4169 | 4170
4166 | 4167 | 4166 | 4166 | 4167
4174 | 4175 | 4174 | 4174 | 4174
4167 | 4167 | 4166 | 4167 | 4167
4162 | 4162 | 4162 | 4162 | 4162
4167 | 4167 | 4166 | 4167 | 4166
4170 | 4170 | 4169 | 4170 | 4170
4169 | 4169 | 4169 | 4169 | 4169
4166 | 4167 | 4166 | 4166 | 4166
4168 | 4167 | 4167 | 4167 | 4167
4164 | 4163 | 4163 | 4163 | 4163
4169 | 4169 | 4170 | 4169 | 4169
4166 | 4166 | 4165 | 4166 | 4166
4168 | 4168 | 4168 | 4168 | 4168
4166 | 4167 | 4167 | 4166 | 4167
4168 | 4168 | 4168 | 4167 | 4168
4168 | 4168 | 4167 | 4167 | 4168
4168 | 4168 | 4168 | 4168 | 4168
4167 | 4167 | 4168 | 4167 | 4168
4163 | 4163 | 4163 | 4163 | 4163
4168 | 4168 | 4168 | 4167 | 4169
4169 | 4169 | 4169 | 4168 | 4170
4167 | 4167 | 4166 | 4167 | 4167
4166 | 4165 | 4166 | 4165 | 4166
4161 | 4161 | 4161 | 4160 | 4160
4165 | 4165 | 4165 | 4165 | 4166
4168 | 4168 | 4168 | 4168 | 4168
4162 | 4162 | 4162 | 4161 | 4162
4167 | 4167 | 4167 | 4167 | 4167
4161 | 4161 | 4161 | 4162 | 4162
4163 | 4163 | 4163 | 4162 | 4163
4164 | 4164 | 4164 | 4164 | 4164
4168 | 4168 | 4168 | 4168 | 4168
4167 | 4167 | 4167 | 4167 | 4168
4164 | 4164 | 4164 | 4164 | 4164
4166 | 4166 | 4166 | 4166 | 4167
4164 | 4164 | 4165 | 4165 | 4165
4169 | 4169 | 4169 | 4169 | 4169
4169 | 4169 | 4169 | 4168 | 4169
4160 | 4160 | 4160 | 4160 | 4160
4162 | 4162 | 4162 | 4162 | 4162
4166 | 4166 | 4166 | 4165 | 4166
4166 | 4166 | 4167 | 4166 | 4167
4162 | 4162 | 4162 | 4162 | 4163
4164 | 4164 | 4164 | 4164 | 4165
4165 | 4164 | 4164 | 4164 | 4165
4166 | 4166 | 4166 | 4166 | 4166
4164 | 4164 | 4163 | 4163 | 4164
4164 | 4165 | 4165 | 4165 | 4165
4166 | 4166 | 4166 | 4166 | 4166
4165 | 4164 | 4164 | 4164 | 4166
4161 | 4162 | 4161 | 4162 | 4162
4165 | 4165 | 4164 | 4164 | 4165
4163 | 4163 | 4163 | 4163 | 4164
4162 | 4162 | 4163 | 4163 | 4163
4163 | 4163 | 4163 | 4163 | 4163
4161 | 4161 | 4161 | 4161 | 4162
4163 | 4163 | 4163 | 4163 | 4163
4166 | 4165 | 4165 | 4165 | 4166
4163 | 4163 | 4163 | 4163 | 4163
4163 | 4163 | 4163 | 4163 | 4163
4157 | 4158 | 4158 | 4157 | 4158
4154 | 4154 | 4154 | 4154 | 4155
4159 | 4160 | 4159 | 4159 | 4160
4162 | 4162 | 4162 | 4162 | 4162
4161 | 4160 | 4161 | 4161 | 4161
4160 | 4159 | 4159 | 4159 | 4159
4662 | 4661 | 4662 | 4662 | 4661
4665 | 4665 | 4665 | 4665 | 4665
4665 | 4666 | 4665 | 4665 | 4666
4663 | 4664 | 4663 | 4663 | 4664
4664 | 4664 | 4664 | 4664 | 4663
4658 | 4658 | 4659 | 4659 | 4659
4662 | 4663 | 4662 | 4662 | 4663
4664 | 4665 | 4664 | 4665 | 4665
4664 | 4666 | 4664 | 4664 | 4665
4665 | 4664 | 4664 | 4665 | 4665
4666 | 4666 | 4666 | 4666 | 4666
4664 | 4664 | 4664 | 4665 | 4665
4665 | 4665 | 4665 | 4665 | 4665
4663 | 4663 | 4662 | 4662 | 4663
4661 | 4662 | 4662 | 4662 | 4663
4661 | 4662 | 4662 | 4662 | 4662
4666 | 4666 | 4665 | 4667 | 4667
4663 | 4664 | 4662 | 4664 | 4664
4665 | 4665 | 4666 | 4666 | 4666
4663 | 4664 | 4664 | 4664 | 4665
4662 | 4662 | 4662 | 4663 | 4662
4657 | 4656 | 4657 | 4657 | 4658
4660 | 4660 | 4659 | 4660 | 4660
4657 | 4656 | 4655 | 4656 | 4658
4661 | 4661 | 4661 | 4662 | 4663
4659 | 4659 | 4658 | 4658 | 4660
4657 | 4657 | 4657 | 4659 | 4659
4654 | 4653 | 4653 | 4655 | 4655
4661 | 4661 | 4659 | 4661 | 4663
4656 | 4655 | 4655 | 4655 | 4655
4656 | 4656 | 4656 | 4657 | 4658
4661 | 4659 | 4660 | 4660 | 4661
4659 | 4659 | 4659 | 4659 | 4660
4657 | 4658 | 4658 | 4658 | 4660
4659 | 4659 | 4658 | 4658 | 4659
4655 | 4654 | 4656 | 4655 | 4655
4657 | 4657 | 4657 | 4656 | 4659
4658 | 4658 | 4658 | 4657 | 4658
4649 | 4648 | 4649 | 4649 | 4649
4652 | 4650 | 4652 | 4651 | 4653
4657 | 4657 | 4658 | 4657 | 4659
4658 | 4656 | 4658 | 4658 | 4658
4654 | 4652 | 4654 | 4653 | 4655
4654 | 4653 | 4655 | 4653 | 4655
4656 | 4655 | 4655 | 4655 | 4655
4655 | 4654 | 4656 | 4655 | 4657
4650 | 4650 | 4650 | 4650 | 4650
4653 | 4653 | 4653 | 4653 | 4654
4658 | 4658 | 4659 | 4659 | 4659
4658 | 4658 | 4658 | 4659 | 4659
4653 | 4652 | 4653 | 4653 | 4655
4652 | 4653 | 4652 | 4653 | 4654
4656 | 4655 | 4656 | 4656 | 4656
4658 | 4657 | 4657 | 4657 | 4658
4660 | 4660 | 4660 | 4660 | 4662
4659 | 4659 | 4659 | 4660 | 4660
4661 | 4660 | 4661 | 4661 | 4663
4664 | 4664 | 4664 | 4665 | 4665
4658 | 4656 | 4657 | 4658 | 4659
4658 | 4658 | 4657 | 4659 | 4659
4658 | 4657 | 4657 | 4658 | 4658
4659 | 4659 | 4658 | 4660 | 4661
4654 | 4653 | 4653 | 4655 | 4655
4659 | 4657 | 4659 | 4659 | 4660
4667 | 4666 | 4667 | 4667 | 4667
4666 | 4665 | 4663 | 4665 | 4664
4662 | 4661 | 4661 | 4662 | 4663
4657 | 4657 | 4656 | 4657 | 4657
4655 | 4654 | 4655 | 4654 | 4656
4651 | 4650 | 4649 | 4651 | 4653
4647 | 4645 | 4646 | 4645 | 4647
4652 | 4650 | 4648 | 4650 | 4651
4650 | 4649 | 4648 | 4649 | 4651
4639 | 4640 | 4638 | 4639 | 4638
4642 | 4640 | 4640 | 4641 | 4642
4643 | 4640 | 4641 | 4642 | 4643
4640 | 4640 | 4639 | 4640 | 4641
4642 | 4639 | 4640 | 4640 | 4641
4644 | 4643 | 4643 | 4644 | 4644
4639 | 4638 | 4638 | 4637 | 4639
4638 | 4638 | 4638 | 4638 | 4639
4645 | 4646 | 4644 | 4645 | 4646
4641 | 4642 | 4642 | 4641 | 4642
4642 | 4642 | 4642 | 4642 | 4642
4641 | 4641 | 4642 | 4643 | 4643
4641 | 4640 | 4639 | 4641 | 4641
4637 | 4638 | 4638 | 4638 | 4640
4647 | 4646 | 4646 | 4647 | 4649
4646 | 4647 | 4646 | 4646 | 4647
4648 | 4648 | 4648 | 4648 | 4648
4648 | 4648 | 4647 | 4648 | 4648
4647 | 4647 | 4647 | 4647 | 4648
4643 | 4643 | 4643 | 4644 | 4644
4648 | 4648 | 4647 | 4648 | 4648
4644 | 4643 | 4643 | 4644 | 4644
4642 | 4642 | 4641 | 4642 | 4643
4647 | 4648 | 4648 | 4648 | 4647
4646 | 4646 | 4645 | 4645 | 4645
4651 | 4650 | 4649 | 4651 | 4651
4650 | 4651 | 4651 | 4651 | 4650
4650 | 4649 | 4649 | 4651 | 4649
4647 | 4645 | 4646 | 4645 | 4645
4648 | 4648 | 4647 | 4647 | 4648
4645 | 4645 | 4643 | 4646 | 4646
4651 | 4649 | 4649 | 4650 | 4651
4655 | 4654 | 4654 | 4654 | 4654
4649 | 4650 | 4648 | 4649 | 4650
4645 | 4643 | 4643 | 4642 | 4644
4653 | 4653 | 4652 | 4653 | 4654
4642 | 4642 | 4641 | 4641 | 4643
4646 | 4646 | 4647 | 4646 | 4647
4646 | 4647 | 4646 | 4646 | 4647
4654 | 4654 | 4654 | 4653 | 4654
4647 | 4647 | 4648 | 4648 | 4649
4648 | 4647 | 4647 | 4648 | 4649
4645 | 4645 | 4644 | 4645 | 4645
4649 | 4648 | 4647 | 4648 | 4649
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
X | X | X | X | X
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
-1732 | -1732 | -1732 | -1732 | -1736
-1719 | -1719 | -1719 | -1719 | -1719
-1708 | -1708 | -1708 | -1708 | -1708
-1694 | -1694 | -1694 | -1694 | -1694
-1680 | -1680 | -1680 | -1680 | -1680
-1669 | -1669 | -1669 | -1669 | -1669
-1659 | -1659 | -1659 | -1659 | -1659
-1648 | -1648 | -1648 | -1648 | -1648
-1634 | -1634 | -1634 | -1634 | -1634
-1624 | -1624 | -1624 | -1624 | -1624
-1616 | -1616 | -1616 | -1616 | -1616
-1605 | -1605 | -1605 | -1605 | -1605
-1592 | -1592 | -1592 | -1592 | -1592
-1578 | -1578 | -1578 | -1578 | -1578
-1567 | -1567 | -1567 | -1567 | -1564
-1557 | -1553 | -1553 | -1557 | -1553
-1543 | -1543 | -1543 | -1543 | -1543
-1532 | -1532 | -1532 | -1532 | -1532
-1522 | -1519 | -1519 | -1522 | -1522
-1511 | -1511 | -1511 | -1511 | -1511
-1501 | -1501 | -1501 | -1501 | -1501
-1490 | -1490 | -1490 | -1490 | -1490
-1479 | -1479 | -1479 | -1479 | -1479
-1469 | -1469 | -1469 | -1469 | -1469
-1455 | -1455 | -1455 | -1455 | -1455
-1448 | -1448 | -1448 | -1448 | -1448
-1437 | -1434 | -1434 | -1434 | -1434
-1427 | -1427 | -1427 | -1427 | -1427
-1416 | -1416 | -1416 | -1416 | -1416
-1405 | -1405 | -1405 | -1405 | -1405
-1398 | -1398 | -1398 | -1398 | -1398
-1384 | -1384 | -1384 | -1384 | -1384
-1376 | -1376 | -1376 | -1376 | -1376
-1366 | -1366 | -1366 | -1366 | -1366
-1353 | -1353 | -1353 | -1353 | -1353
-1344 | -1344 | -1344 | -1344 | -1344
-1331 | -1334 | -1331 | -1334 | -1334
-1321 | -1321 | -1321 | -1321 | -1321
-1313 | -1313 | -1313 | -1313 | -1313
-1300 | -1300 | -1300 | -1300 | -1300
-1290 | -1290 | -1290 | -1290 | -1290
-1277 | -1280 | -1277 | -1277 | -1277
-1269 | -1269 | -1269 | -1269 | -1269
-1260 | -1260 | -1260 | -1260 | -1260
-1249 | -1249 | -1249 | -1249 | -1249
-1239 | -1239 | -1239 | -1239 | -1239
-1229 | -1229 | -1229 | -1229 | -1229
-1219 | -1219 | -1219 | -1219 | -1219
-1209 | -1209 | -1209 | -1209 | -1209
-1196 | -1196 | -1196 | -1196 | -1196
-1191 | -1191 | -1191 | -1191 | -1191
-1178 | -1178 | -1178 | -1178 | -1178
-1168 | -1168 | -1168 | -1168 | -1168
-1158 | -1158 | -1158 | -1158 | -1158
-1148 | -1148 | -1148 | -1148 | -1148
-1140 | -1138 | -1138 | -1140 | -1138
-1129 | -1129 | -1129 | -1129 | -1129
-1117 | -1117 | -1117 | -1117 | -1117
-1107 | -1107 | -1107 | -1107 | -1107
-1095 | -1095 | -1095 | -1095 | -1095
-1087 | -1087 | -1087 | -1087 | -1087
-1076 | -1076 | -1076 | -1076 | -1076
-1066 | -1066 | -1066 | -1066 | -1066
-1056 | -1056 | -1056 | -1056 | -1056
-1046 | -1046 | -1044 | -1046 | -1046
-1036 | -1036 | -1036 | -1036 | -1036
-1026 | -1026 | -1026 | -1026 | -1026
-1015 | -1015 | -1015 | -1015 | -1015
-1005 | -1005 | -1005 | -1005 | -1005
-996 | -996 | -996 | -996 | -996
-985 | -985 | -985 | -985 | -985
-975 | -975 | -975 | -975 | -975
-966 | -966 | -964 | -964 | -966
-955 | -955 | -955 | -955 | -955
-944 | -944 | -944 | -944 | -944
-934 | -934 | -934 | -934 | -934
-924 | -924 | -924 | -924 | -924
-916 | -916 | -916 | -916 | -916
-906 | -906 | -906 | -906 | -906
-894 | -894 | -894 | -894 | -894
-884 | -884 | -884 | -884 | -884
-875 | -875 | -875 | -875 | -875
-866 | -866 | -866 | -866 | -866
-857 | -857 | -857 | -857 | -857
-846 | -846 | -845 | -846 | -846
-835 | -835 | -835 | -835 | -835
-825 | -825 | -825 | -825 | -827
-816 | -816 | -816 | -816 | -816
-807 | -807 | -807 | -807 | -807
-797 | -797 | -797 | -797 | -797
-787 | -787 | -787 | -787 | -787
-777 | -777 | -777 | -777 | -777
-768 | -768 | -768 | -768 | -768
-756 | -756 | -756 | -756 | -756
-748 | -748 | -748 | -748 | -748
-736 | -736 | -736 | -736 | -736
-727 | -727 | -727 | -727 | -727
-716 | -716 | -716 | -716 | -716
-708 | -708 | -708 | -708 | -708
-697 | -697 | -697 | -697 | -697
-686 | -686 | -686 | -686 | -686
-677 | -677 | -677 | -677 | -677
-668 | -668 | -668 | -668 | -668
-657 | -657 | -657 | -657 | -657
-648 | -648 | -648 | -648 | -648
-639 | -639 | -639 | -639 | -639
-628 | -628 | -628 | -628 | -628
-619 | -619 | -619 | -619 | -619
-609 | -609 | -609 | -609 | -609
-600 | -600 | -600 | -600 | -600
-590 | -590 | -590 | -590 | -590
-580 | -580 | -580 | -580 | -580
-570 | -570 | -570 | -570 | -570
-561 | -561 | -561 | -561 | -561
-551 | -551 | -551 | -551 | -551
-541 | -541 | -541 | -541 | -541
-532 | -532 | -532 | -532 | -532
-522 | -522 | -522 | -522 | -522
-513 | -513 | -513 | -513 | -513
-454 | -454 | -454 | -454 | -454
-444 | -444 | -444 | -444 | -444
-436 | -436 | -436 | -436 | -436
-428 | -428 | -428 | -428 | -428
-419 | -419 | -419 | -419 | -419
-410 | -410 | -410 | -410 | -410
-401 | -401 | -401 | -401 | -401
-393 | -393 | -393 | -393 | -393
-384 | -384 | -384 | -384 | -384
-376 | -376 | -376 | -376 | -376
-367 | -367 | -367 | -367 | -367
-358 | -358 | -358 | -358 | -358
-349 | -349 | -349 | -349 | -349
-341 | -341 | -341 | -341 | -341
-332 | -332 | -332 | -332 | -332
-324 | -324 | -324 | -324 | -324
-315 | -315 | -315 | -315 | -315
-306 | -306 | -306 | -306 | -306
-298 | -298 | -298 | -298 | -298
-289 | -289 | -289 | -289 | -289
-281 | -281 | -281 | -281 | -281
-272 | -272 | -272 | -272 | -272
-263 | -263 | -263 | -263 | -263
-255 | -255 | -255 | -255 | -255
-246 | -246 | -246 | -246 | -246
-237 | -237 | -237 | -237 | -237
-229 | -229 | -229 | -229 | -229
-220 | -220 | -220 | -220 | -220
-211 | -211 | -211 | -211 | -211
-203 | -203 | -203 | -203 | -203
-194 | -194 | -194 | -194 | -194
-186 | -186 | -186 | -186 | -186
-177 | -177 | -177 | -177 | -177
-168 | -168 | -168 | -168 | -168
-159 | -159 | -159 | -159 | -159
-151 | -151 | -151 | -151 | -151
-142 | -142 | -142 | -142 | -142
-134 | -134 | -134 | -134 | -134
-125 | -125 | -125 | -125 | -125
-117 | -117 | -117 | -117 | -117
-108 | -108 | -108 | -108 | -108
-100 | -100 | -100 | -100 | -100
-90 | -90 | -90 | -90 | -90
-82 | -82 | -82 | -82 | -82
-74 | -74 | -74 | -74 | -74
-65 | -65 | -65 | -65 | -65
-56 | -56 | -56 | -56 | -56
-47 | -47 | -47 | -47 | -47
-39 | -39 | -39 | -39 | -39
-30 | -30 | -30 | -30 | -30
-22 | -22 | -22 | -22 | -22
-13 | -13 | -13 | -13 | -13
-4 | -4 | -4 | -4 | -4
2 | 2 | 2 | 2 | 2
11 | 11 | 11 | 11 | 11
19 | 19 | 19 | 19 | 19
28 | 28 | 28 | 28 | 28
37 | 37 | 37 | 37 | 37
45 | 45 | 45 | 45 | 45
53 | 53 | 53 | 53 | 53
62 | 62 | 62 | 62 | 62
70 | 70 | 70 | 70 | 70
79 | 79 | 79 | 79 | 79
88 | 88 | 88 | 88 | 88
96 | 96 | 96 | 96 | 96
105 | 105 | 105 | 105 | 105
113 | 113 | 113 | 113 | 113
122 | 122 | 122 | 122 | 122
130 | 130 | 130 | 130 | 130
138 | 138 | 138 | 138 | 138
148 | 148 | 148 | 148 | 148
156 | 156 | 156 | 156 | 156
164 | 164 | 164 | 164 | 164
173 | 173 | 173 | 173 | 173
181 | 181 | 181 | 181 | 181
190 | 190 | 190 | 190 | 190
198 | 198 | 198 | 198 | 198
207 | 207 | 207 | 207 | 207
216 | 216 | 216 | 216 | 216
224 | 224 | 224 | 224 | 224
233 | 233 | 233 | 233 | 233
241 | 241 | 241 | 241 | 241
249 | 249 | 249 | 249 | 249
258 | 258 | 258 | 258 | 258
267 | 267 | 267 | 267 | 267
275 | 275 | 275 | 275 | 275
284 | 284 | 284 | 284 | 284
292 | 292 | 292 | 292 | 292
301 | 301 | 301 | 301 | 301
310 | 310 | 310 | 310 | 310
318 | 318 | 318 | 318 | 318
327 | 327 | 327 | 327 | 327
336 | 336 | 336 | 336 | 336
344 | 344 | 344 | 344 | 344
353 | 353 | 353 | 353 | 353
362 | 362 | 362 | 362 | 362
370 | 370 | 370 | 370 | 370
379 | 379 | 379 | 379 | 379
387 | 387 | 387 | 387 | 387
396 | 396 | 396 | 396 | 396
405 | 405 | 405 | 405 | 405
413 | 413 | 413 | 413 | 413
422 | 422 | 422 | 422 | 422
431 | 431 | 431 | 431 | 431
439 | 439 | 439 | 439 | 439
449 | 449 | 449 | 449 | 449
457 | 457 | 457 | 457 | 457
465 | 465 | 465 | 465 | 465
475 | 475 | 475 | 475 | 475
483 | 483 | 483 | 483 | 483
490 | 490 | 490 | 490 | 490
499 | 499 | 499 | 499 | 499
508 | 509 | 508 | 508 | 509
518 | 518 | 518 | 518 | 518
527 | 527 | 527 | 527 | 527
535 | 534 | 534 | 534 | 534
609 | 609 | 609 | 609 | 609
618 | 618 | 618 | 618 | 618
628 | 628 | 628 | 628 | 628
638 | 638 | 638 | 638 | 638
647 | 647 | 647 | 647 | 647
655 | 655 | 655 | 655 | 655
667 | 667 | 667 | 667 | 667
676 | 676 | 676 | 676 | 676
687 | 687 | 687 | 687 | 687
696 | 696 | 696 | 696 | 696
706 | 706 | 706 | 706 | 706
716 | 716 | 716 | 716 | 716
726 | 726 | 726 | 726 | 726
735 | 735 | 735 | 735 | 735
746 | 746 | 746 | 746 | 746
755 | 755 | 755 | 755 | 755
765 | 765 | 765 | 765 | 765
775 | 775 | 775 | 775 | 775
785 | 785 | 785 | 785 | 785
794 | 794 | 794 | 794 | 794
805 | 805 | 805 | 805 | 805
812 | 812 | 812 | 812 | 812
824 | 824 | 822 | 824 | 824
832 | 832 | 832 | 832 | 832
844 | 844 | 844 | 844 | 844
852 | 852 | 852 | 852 | 853
862 | 862 | 862 | 862 | 862
871 | 871 | 871 | 871 | 871
883 | 883 | 881 | 883 | 883
891 | 891 | 891 | 891 | 891
900 | 900 | 900 | 900 | 900
912 | 910 | 912 | 912 | 912
920 | 920 | 920 | 920 | 922
930 | 930 | 930 | 930 | 932
939 | 939 | 939 | 939 | 939
950 | 950 | 950 | 950 | 950
959 | 959 | 959 | 959 | 959
969 | 969 | 969 | 969 | 969
977 | 977 | 977 | 977 | 977
989 | 989 | 989 | 989 | 989
999 | 999 | 999 | 999 | 999
1009 | 1009 | 1009 | 1009 | 1009
1019 | 1019 | 1019 | 1019 | 1019
1030 | 1030 | 1030 | 1030 | 1030
1040 | 1040 | 1040 | 1040 | 1040
1050 | 1050 | 1050 | 1050 | 1050
1060 | 1060 | 1060 | 1060 | 1060
1071 | 1071 | 1071 | 1071 | 1071
1080 | 1080 | 1080 | 1080 | 1080
1090 | 1090 | 1090 | 1090 | 1090
1101 | 1101 | 1101 | 1101 | 1101
1111 | 1111 | 1111 | 1111 | 1111
1121 | 1121 | 1121 | 1121 | 1121
1131 | 1131 | 1131 | 1131 | 1131
1144 | 1144 | 1144 | 1144 | 1144
1152 | 1152 | 1152 | 1154 | 1154
1165 | 1165 | 1165 | 1165 | 1165
1175 | 1175 | 1175 | 1175 | 1175
1183 | 1183 | 1183 | 1183 | 1183
1192 | 1192 | 1192 | 1192 | 1192
1203 | 1203 | 1203 | 1203 | 1203
1213 | 1213 | 1213 | 1215 | 1215
1223 | 1223 | 1223 | 1223 | 1223
1233 | 1233 | 1233 | 1233 | 1236
1246 | 1246 | 1246 | 1246 | 1246
1257 | 1257 | 1257 | 1257 | 1257
1267 | 1267 | 1267 | 1267 | 1267
1274 | 1274 | 1274 | 1274 | 1274
1285 | 1285 | 1285 | 1285 | 1285
1295 | 1295 | 1292 | 1295 | 1295
1303 | 1303 | 1303 | 1303 | 1303
1316 | 1316 | 1313 | 1316 | 1316
1326 | 1323 | 1323 | 1323 | 1326
1331 | 1334 | 1331 | 1331 | 1331
1344 | 1344 | 1344 | 1344 | 1344
1355 | 1355 | 1355 | 1355 | 1355
1365 | 1365 | 1362 | 1365 | 1365
1375 | 1372 | 1375 | 1375 | 1375
1386 | 1386 | 1386 | 1386 | 1386
1394 | 1394 | 1394 | 1394 | 1394
1404 | 1404 | 1404 | 1404 | 1404
1418 | 1418 | 1418 | 1418 | 1418
1428 | 1428 | 1428 | 1428 | 1428
1438 | 1438 | 1438 | 1438 | 1438
1449 | 1449 | 1449 | 1449 | 1449
1460 | 1460 | 1457 | 1460 | 1460
1467 | 1467 | 1467 | 1467 | 1470
1480 | 1480 | 1480 | 1480 | 1480
1491 | 1491 | 1491 | 1491 | 1491
1502 | 1502 | 1502 | 1502 | 1502
1512 | 1512 | 1512 | 1512 | 1512
1522 | 1522 | 1522 | 1522 | 1522
1533 | 1533 | 1533 | 1533 | 1533
1543 | 1543 | 1543 | 1543 | 1543
1554 | 1554 | 1554 | 1554 | 1554
1564 | 1564 | 1564 | 1564 | 1564
1575 | 1575 | 1575 | 1575 | 1575
1585 | 1585 | 1585 | 1585 | 1585
1599 | 1599 | 1596 | 1599 | 1599
1609 | 1609 | 1609 | 1609 | 1609
1620 | 1617 | 1617 | 1620 | 1617
1627 | 1627 | 1627 | 1627 | 1627
1637 | 1637 | 1637 | 1637 | 1637
1649 | 1649 | 1649 | 1649 | 1649
1662 | 1659 | 1659 | 1662 | 1662
1672 | 1672 | 1672 | 1672 | 1672
1679 | 1683 | 1679 | 1679 | 1683
1690 | 1690 | 1690 | 1690 | 1690
1704 | 1704 | 1704 | 1704 | 1704
1711 | 1711 | 1711 | 1711 | 1711
1722 | 1722 | 1722 | 1722 | 1722
1732 | 1732 | 1732 | 1732 | 1732
1746 | 1746 | 1746 | 1746 | 1746
1753 | 1753 | 1753 | 1753 | 1753
1764 | 1764 | 1764 | 1764 | 1764
1774 | 1774 | 1774 | 1774 | 1774
1784 | 1784 | 1784 | 1784 | 1784
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0